## Slide 1: Algorithm summary
Voltage grouping
While reading the input file frame by frame, the program group frames of similar voltages together.
Start
Voltage Group
Voltage Group
Voltage Group
XIC extraction and summing/averaging
(ppm +/− 10)
Feature(peak) detection
(MultidimensionalPeakFinding.dll)
Gamma filter
Ims scan number filter
Extract the drift time and score filter’s intensity, peak shape and isotopic profile
Remove low intensity features
Remove low isotopic features
Remove bad peak shape features
Any features left
NEG
Select features with highest isotopic score * 2 + intensity score
Discard voltage group
Voltage Group
Stable?
Done?
Only one feature left?
Voltage Group
Voltage Group
Any voltage groups left?
claim target found in voltage group
REJ
NEP
POS
Cross section and mobility calculation
More than 3 points left?
Linear least Square fit
Remove outliers
Linear least Square fit
R^2 is above threshold?
Yes
Yes
No
No
No
No
No
Yes
Yes
No
No
Yes
Yes
Yes